Separation and Characterization of Reactive and Non-Reactive Sulfur

in Petroleum and Its Fractions

Lobodin, V.V. (Future Fuels Institute); Robbins, W.K. (Consultant); Lie, J. (Future Fuels Institute) and Rodgers, R.P. (Future Fuels Institute, FSU Chemistry)

Results and Discussion

We present an efficient, easy-to-use chromatographic method to separate reactive and nonreactive sulfur compounds in crude oil for subsequent quantitative analysis and molecular characterization. Sulfur compounds in petroleum samples are separated by ligand exchange chromatography (LEC) on a silver-modified strong-cation exchange (SCX) solid-phase extraction (SPE) cartridge. LEC separation takes advantage of the bonding affinity of different sulfur types with silver-cations. The elution of a particular sulfur type (reactive or nonreactive) depends on the “strength” of the solvent used. One solvent mixture elutes nonreactive sulfur compounds (thiophenics and diaryl sulfides) into the first fraction. A second solvent mixture elutes reactive S-compounds (sulfides and disulfides) into the second fraction. A third reactive sulfur class (thiols) irreversibly reacts with the impregnated silver-ion to form silver thiolates that are insoluble in the solvent mixtures employed. The distribution of reactive and nonreactive sulfur in a sample can be determined by measurement of sulfur content in separated fractions. The isolated fractions are also well-suited for molecular characterization by a variety of techniques including gas chromatography-based methods (e.g., GC or GC × GC-SCD, GC-MS) and Fourier transform ion cyclotron resonance mass spectrometry (FT-ICR MS), both of which are demonstrated herein.

Figure 1.  Iso-abundance-contoured DBE vs carbon number plots for HC, S1, and S2 classes, for a whole sample of vacuum gas oil (left column), the first (nonreactive S) fraction (middle column), and the second (reactive S) fraction (right column).

Each heteroatom class can be graphically presented as isoabundance plots of DBE versus carbon number (Figure 1) where the relative abundance of ions within the class is represented as contours on a color scale. Iso-abundance plots characterize the three most abundant classes (hydrocarbon (HC), S, and S2) in the VGO and its Ag+-SCX fractions. The structures shown are consistent with elemental formulas and are only for illustration. The HC class for the whole vacuum gas oil extends from DBE ∼ 2−12 with a carbon number distribution from ∼17−30. In the first fraction, the hydrocarbons narrow to DBE ~4−12 over the same carbon number range, consistent with thiophenes and benzologs. In the second fraction, the HC class has a lower DBE (∼2−8) and carbon number (∼17−27). The S1 species in the first fraction (nonreactive S) range from DBE ∼3−10 (maximum at DBE of 6) with C number of 17−27, and  are consistent with thiophenic structures.

Acknowledgements

This work was supported by the National Science Foundation (DMR-11-57490), the Florida State University Future Fuels Institute, and the State of Florida. The authors would like to thank ConocoPhillips for providing petroleum samples and support of this work.

References

[1]	Lobodin, V.V. et al., Energy Fuels, 29, 6177-6186 (2015).