Ultrahigh Field 17O Magic-Angle Spinning NMR Using Series-Connected-Hybrid Magnet

Keeler, E.G. (MIT, Chemistry); Michaelis, V.K. (U. of Alberta, Chemistry); Colvin, M.T. and Griffin, R.G. (MIT, Chemistry); Hung, I. and Gorkov, P.L. (NHMFL); Cross, T.A. (FSU, Chemistry & Biochemistry, NHMFL) and Gan, Z. (NHMFL)

Introduction

The essential role of oxygen in hydrogen bonding and in determining the chemistry, structure, and function of peptides and proteins is well known. The use of 17O NMR for the characterization has been challenging due to its low natural isotopic abundance (0.037%), low gyromagnetic ratio (−5.774 MHz T−1), and spin I = 5/2 quadrupolar nucleus. In this report, we present the first use of the 36 T Series-Connected-Hybrid (SCH) magnet at the NHMFL to address the resolution and sensitivity issues of 17O NMR.1

Experimental

17O NMR were performed using the SCH, a 1.5 GHz Bruker Avance NEO NMR console and a 3.2 mm magic-angle spinning probe developed at the NHMFL. The magnetic field of the powered magnet is regulated using a customized Electronic Lock Control Board (ELCB) in the Bruker NMR console and an external LiCl solution lock sample doped with MnCl2.2 Combined active and passive shims were used to enhance the field homogeneity to less than 1 ppm over 1 cm3 DSV.

Results and Discussion

Fig. 1 shows 1D 17O MAS and 2D 3-Quantum Magic-Angle Spinning (3QMAS) spectra of [U-13C,15N,70% 17O]-N-Ac-VL acquired using the SCH magnet. At the high field of 35.2 T, the 2nd-order quadrupolar broadening of 17O is reduced to about 10 ppm while the chemical shift spans over 100 ppm. The line narrowing makes the three 17O labelled sites of the model peptide completely resolved in the 1D MAS spectrum. The quadrupolar broadening can be further removed by the 3QMAS experiment as shown in Fig.1(d) and 1(e). In addition to the large span of isotropic chemical shifts, oxygen also has a large chemical shift anisotropy (CSA) amplified by the high magnetic field. Both the 1D MAS and 2D 3QMAS spectra show many spinning sidebands under the 19 kHz MAS frequency being used. The intensity profiles of the spinning sidebands and characteristic line shape from the 2nd-order quadrupolar broadening allows for a complete determination of the quadrupolar coupling and CSA parameters.1 In order to resolve overlap among the spinning sidebands, a 2D sideband separation experiment was also performed to spread spinning sidebands by their order along the second-dimension (result not shown, see supporting information of ref. 1).

A stable and homogeneous magnetic field is essential for signal averaging and carrying out multidimensional NMR experiments. The combined active/passive shim and the success of field regulation using the field/frequency lock enable high-resolution NMR at a field 50% more than the highest superconducting NMR magnet available today. For quadrupolar nuclei like 17O, the high field brings dramatic gains in spectral sensitivity and resolution for using 17O NMR to probe the important oxygen element in chemistry and biology.

Conclusion

We have successfully performed 1D and 2D 17O NMR experiments using the newly commissioned 36 T SCH magnet. The results show great promises for 17O NMR of biological samples with enhanced resolution and sensitivity.

Acknowledgements

This work was supported by NIH EB-001960, EB-002804, EB-002026, P41GM122698, and NSF DMR-1039938 and DMR-0603042.  Work was performed at the NHMFL supported by NSF DMR-1157490 and the State of Florida.

References

[1] Keeler, E., et al., J. Am. Chem. Soc., 139(49), 17953 (2017).

# Text boxes

Fig. 1. 1D and 2D 17O MAS NMR spectra of [U-13C,15N,70% 17O]-N-Ac-VL recorded at 35.2 T. (a) color-coded 17O labelled sites

(NCO, CO, and COH), (b) experimental, (c) simulated spectra with

centerbands indicated with asterisks (*), slices (d) of the anisotropic dimension and (e) 2D 3QMAS spectrum with the centerbands indicated with dashed horizontal lines and circles, the remaining peaks in the spectrum are due to spinning sidebands. The MAS frequency was 19 kHz.